## Table 1
TABLE 1 - Mission Requirement and Implications
Research and Application Objectives | Implications for Mission and Cal/Val Requirements
TYPES OF OBSERVATIONS: Measure ecosystem function, plant functional diversity, aquatic ecosystem characteristics, coastal benthic cover, soil and mineral properties, ice and snow conditions across complex terrains. Measurements will also allow observation of events such as oil spills, volcanic eruptions, and wildfires. | Objectives require mission characteristics listed in Table 2 for a VSWIR spectrosopy thermal imagery mission. Measurements, especially dark targets such as aquatic ones, will require accurate calibration and prelaunch characterization.
SPATIAL REQUIREMENTS: Coverage must be global with spatial resolution to capture spatial variability of key surface features related to biological and geological features. | Spatial requirements are given in Table 2. Such resolution implied highly accurate geometric calibration and prelaunch spatial characterization. Geometric consistency is provided by orbital parameters in Table 2. Global coverage implies stable instrument calibration and good prelaunch characterization to reduce overlap artifacts in mosaics. Stable instrument calibration suggests in-flight monitoring and calibration correction.
TEMPORAL REQUIREMENTS: Observations will be made at sub-seasonal and yearly time scales and sufficient detail to quantify variation and ability to observe rapid or transient changes related to Earth system events such as fires, landslides, volcanic activity and anthropogenic incidents. To achieve optimal temporal resolution, SBG intends to harmonize data with collaborating international missions to maximize temporal sampling. | The system’s orbit provide consistent sun-sensor geometry for observation consistency in retrievals and for calibration and validation, and provide for global coverage, as above (polar orbit). This leads to orbital parameters given in Table 2. Change, cycle and trend detection implies stable calibration via on-orbit commissioning, in-flight monitoring and calibration corrections. The latter suggests elements such as lunar calibration, solar calibration or on-board references, including a black body for TIR or lamps for VSWIR. Data harmonization implies inter-calibration, inter-validation, share methodologies and references.

## Table 2
TABLE 2 - Mission Observational Performance Characteristics
| Mission Characteristic | VSWIR Imaging Spectrometer | Thermal Imager
GENERAL | Architecture Description | One satellite with a VSWIR imaging spectrometer and one satellite with a TIR imager
| Orbit Type | LEO Polar Sunsynchronous, LTDN 1030-1130 | LEO Polar Sunsynchronous, LTDN 1230 ± 5 min
| Altitude | 619 km | 666 km
| Prospective Launch Date | NET 2028 Q1 | NET 2028 Q1
| Tilt | 3-5° fixed along scan tilt (for glint avoidance) | None
TEMPORAL | Observation Frequency | ≤16 days (5-8 days w/ CHIME) | ≤3 days (≤ 2 days w/ LSTM & TRISHNA)
| Resolvable Time Scales | Seasonal to Decadal | Seasonal to Decadal
SPATIAL | Coverage | Global land, coastal, island & inland waters | Global land, coastal, island & inland waters
| Events Targeting | Significant phenomena and cal/val activities | Significant phenomena and cal/val activities
| Swath width | 185 km | 930 km
| Ground Sample Distance | 30 m (1km over open ocean) | 60 m (1km over open ocean)
SPECTRAL | Spectral Range | 380-2500 nm (can reach 320 nm) | 3-12 μm (multiple bands)
| Spectral Resolution | 8-12 nm | TBD
| Spectral Sampling | 10 nm | TBD
| # Bands | >210 | 5-8
RADIOMETRIC | Performance | VNIR (0.5-1.0 μm): SNR > 400 @ 25% reflectance SWIR (1.6-2.2 μm): SNR > 250, @ 25% reflectance | TIR (8-12 μm): 0.2°K NeDT @275°K, 200-500°K MIR (3-5 μm): 0.3°K NeDT@750°K, 400-1200°K
| Number of Bits | ≥ 14 | ≥ 14

## Table 3
Reference Data Set or Model | Purpose
Star catalog and planetary ephemeris data | Geo Cal
Leap second and polar wander that includes (UT1-UTC) | Geo Cal
Ground Control Point (GCP) database or Global Reference Image (GRI) | Geo Cal
Time-dependent calibration adjustments | Rad Cal
Lunar irradiance model (e.g., ROLO, GIRO or LIME)* | Rad Cal
Solar irradiance spectrum* | Rad Cal, Reflectance
Instrument char. data (e.g., radiometric, spectral and polarization responses) | Rad Cal, Reflectance
Vicarious calibration adjustments | Reflectance
Spectral transmission of absorbing gasses (e.g., H2O, O3, NO2)* | Reflectance
Meteorological data (e.g., wind, relative humidity, pressure and temperature) | Reflectance
Aerosol models | Reflectance
BRDF models of vicarious calibration sites | Reflectance
Digital Elevation Model (DEM) and Earth Gravitational Model (e.g., EGM96) | Geo Cal
Inland water body masks or land/water masks | Reflectance
Land/sea masks | Reflectance
Bathymetry | Reflectance, Science Data
Global shoreline vector data set | Science Data
Sea surface temperature climatology | Science Data
Geological and pedological map | Science Data
Spectral libraries* | Science Data

## Table 4
Radiometric Performance
Count-to-radiance gain (T/Vac)
Radiometric range (Lmin, Lmax)
Saturation radiance (Lsat)
Dark current characteristics
Linearity
Stability
Repeatability
Reproducibility
Noise characteristics
Signal-to-Noise Ratio (SNR) function
Polarization response
Spectral Performance
Spectral Response Functions (SRF) - In-band
Spectral Response Functions (SRF) - Out-of-Band (OOB)
Crosstalk
Spatial Performance
Instrument pointing data
Near-field response
Far-field response
Band to Band Registration (BBR)
Modulation Transfer Function (MTF)